## Blad1
Battery maintenance measurement spreadsheet
Yellow fields are for input. Enter voltages with two decimal places.
Site: |  | Example
Maintenance done by:
Date: |  | 2019-08-20
Time:
Battery bank voltage [V]:
Battery compartment temperature [°C]:
| Voltage [V] | Temp [°C]
Manual readings
Block 1
Block 2
Block 3
Block 4
Block 5
Block 6
Block 7
Block 8
Calculated values for the blocks
Max: | 0 | 0
Min: | 0 | 0
Difference max-min: | 0 | 0
Total: | 0
Average: | #DIV/0! | #DIV/0!
Deviations from block average
Block 1 | #DIV/0!
Block 2 | #DIV/0!
Block 3 | #DIV/0!
Block 4 | #DIV/0!
Block 5 | #DIV/0!
Block 6 | #DIV/0!
Block 7 | #DIV/0!
Block 8 | #DIV/0!
Max dev. | #DIV/0!
Min dev. | #DIV/0!